## fuse
Manufacturer | Part Number | tags | Resistance | Tolerance (%) | Stability | Material / Construction | Maximum Voltage | Maximum Current | Temperature Range | Temperature Characteristic | Temp Co. | Power Rating (W) | Reliability (FIT) | AEC-Q200 | Timing Characteristic | Package (2D Footprint)
Bussman | BBS-1 | fuse |  |  |  |  | 600VAC | 1 | [6 empty] | Fast Acting | 13/32x1.3/8” Cartridge
Littelfuse | 0KLK015.T | fuse |  |  |  |  | 600VAC | 15 | [6 empty] | Fast Acting | 13/32x1.1/2” Cartridge
Bussman | 0FLU.440T | fuse |  |  |  |  | 1kVAC | 440m | [6 empty] | Fast Acting | 13/32x1.3/8” Cartridge
Bussman | BK/AGC-2-1/2-R | fuse |  |  |  |  | 250VAC | 2.5 | [6 empty] | Fast Acting | 1/4x1.1/4” Cartridge
Littelfuse | 0218010.HXP | fuse |  |  |  |  | 250VAC | 10 | [6 empty] | Time Lag
Littelfuse | 0218008.HXP | fuse |  |  |  |  | 250VAC | 8 | [6 empty] | Time Lag